Amplivox 
Connect

INSTRUCTION FOR USE

ABOUT THIS MANUAL

READ THIS OPERATING MANUAL BEFORE ATTEMPTING TO USE THE INSTRUMENT.

This manual is valid for the Amplivox Connect (from software version 1.0 onwards).

This product is manufactured by:

|  | Amplivox Ltd 3800 Parkside, Solihull Parkway, Birmingham Business Park, Birmingham, West Midlands, B37 7YG www.amplivox.com |
| --- | --- |

For all enquiries please contact us at:

| Amplivox Ltd 10393 West 70th Street Eden Prairie MN 55344 United States Tel: 888 941 4208 Fax: 952 903 4100 info@amplivox.us | Amplivox Ltd 3800 Parkside, Solihull Parkway, Birmingham Business Park, Birmingham, West Midlands, B37 7YG United Kingdom Tel: +44 (0)1865 880846 hello@amplivox.com |
| --- | --- |

TABLE OF CONTENTS

1.	Introduction	3

1.1.	Thank you	3

1.2.	Intended applications	3

2.	AmpliSuite Connect Installation	4

2.1.	Pre-installation notes	4

2.1.1.	PC and system Requirements	4

2.1.2.	Operation system Compatibility	4

2.2.	Installation	4

2.2.1.	General	4

2.2.2.	Amplivox Connect installation package	4

2.2.3.	USB Driver Installation	7

3.	Amplivox Connect	9

3.1.	Starting Amplivox Connect	9

3.2.	Updating license key	9

3.2.1.	Prolonging the license	9

3.3.	Troubleshooting	10

# Introduction

## Thank you

Thank you for using Amplivox Connect application. Amplivox Connect is a software application that allows results to be uploaded from a supported Amplivox audiometer to the supported online database via a USB port. It also allows a hearing test to be run with an Amplivox Otosure or PC850 audiometer.

## Intended applications

The software is intended to be used as an accessory with compatible audiometers to manage audiometric data.

With the Amplivox Connect module and Amplivox Otosure or PC850 audiometer you can perform hearing auto-tests (air conduction thresholds) and then transfer data to the supported online database.

# AmpliSuite Connect Installation

## Pre-installation notes

### PC and system Requirements

The PC-requirements are as follows:

- Processor: 1 GHz or faster, one or multi-core

- RAM: 1 GB or more

- Available hard disk space: minimum 200 MB

- Resolution: minimum 1378 x 768

- Graphics device: DirectX 9 with WDDM 1.0 or higher driver

- Available 2.0 or 3.0 USB Port

### Operation system Compatibility

Amplivox Connect is supported on the following Microsoft Operating Systems:

- Windows 10

- Windows 11

## Installation

### General

Installation is a straightforward process, but the process must be carried out in the advised order.

To ensure you are familiar with the instructions please read this entire user manual before commencing installation.

### Amplivox Connect installation package

Run AmplivoxConnectSetup.exe:

Select Run to any security warnings that are displayed:

Select Next to proceed with the installation:

Read carefully the end user license agreement. If you agree with it, select checkbox next to “I accept terms in License Agreement” text and select Next.

If you don’t agree with the Agreement, select Cancel to stop software installation. You can print End-User License Agreement using the Print Button.

If desired, change the installation location by Change.

After installation location is selected, select Next:

Select Install to proceed with the installation:

Amplivox Connect installation will then commence:

Amplivox Connect installation will continue until complete. Tick the box to install the USB drivers if you don’t currently have the latest Amplivox USB drivers installed. Select Finish.

To start the Amplivox Connect follow chapter 3.1 in this manual.

### USB Driver Installation

Please note: Make sure that no device is connected to your computer while installing the drivers.

The USB driver installation is part of the Amplivox Connect installation package. After application has been successfully installed, the last window shown will offer the installation of the USB drivers. Tick the box to install the USB drivers if you don’t currently have the latest Amplivox USB drivers installed. Select Finish.

The installation of the latest drivers is not required if the latest version (2.12.28) of the USB drivers are already installed. For example, if an Amplivox instrument has previously been connected to the PC, performing the installation again is not necessary.

# Amplivox Connect

## Starting Amplivox Connect

Amplivox Connect works as your online database supporting application and it will be started automatically when requested by the database.

You can start it to manually only to update license before first use.

## Updating license key

Open Amplivox Connect by double-clicking on the shortcut icon on the desktop.

Please note: If there is no license active, Amplivox Connect will ask for it automatically before first use.

Amplivox Connect cannot be used without an authorised license key. Before first run of application, a licence request screen will be displayed. To proceed, enter license key and press Activate.

Please note: To obtain license key please contact your distributor, or Amplivox customer service.

### Prolonging the license

After one month before your licence will expire, message will be displayed. To continue using Amplivox Connect you will need to purchase a new 12 month licence. Once purchased, make sure your PC is connected to the internet and press Check License. If you want to close this window without taking any actions press Understand button.

## Troubleshooting

Please note: Refer to the installation & operating instructions provided with your instrument(s) for details of the data transfer operation and errors that could possibly occur. If a fault cannot be fixed, the operator is cautioned against repeatedly restarting the instrument.

| Problem | CAUSE | Solution(s) |
| --- | --- | --- |
| Instrument doesn’t connect. | - Device is not switched on - USB connection unstable | - Switch on /Restart device - Check USB connection in both instrument and PC - Ensure cable is in good working order |
| No data is transferred to PC. | - Specified location to store data is different than expected - Specified location to store data does not exist - LoadIt.exe is stored in a different location | - Review the store location in settings - Store LoadIt.exe in same folder as ampliSuite.exe |

Copyright © 2023 Amplivox Ltd

All rights reserved. No part of this publication may be reproduced or transmitted in any form or by any means without the prior written permission of Amplivox Ltd.